## Slide 1: Pollynet_Processing_Chain
Zhenping Yin
2019-07-21

## Slide 2: Outline
Workflow
Programs
Products and Configurations
Installation and setup
Future Plan

## Slide 3: rsd server
lacroshome
cloudnet
ceilo
Martha
Bertha
lacroswww
pollyhome
pollydata
Bildermacher
Picasso
Watervapor
pollynet

## Slide 4: Workflow
PollyNET processing program
PollyNET Measurements
PollyNET Data Server

## Slide 5: PollyNET Processing Program
Automatic calibration
  lidar calibration
  water vapor calibration
  depolarization calibration
Integrated conventional retrieving algorithms
Extensible programming structure

## Slide 6: Rayleigh Fit
Range Corrected Signal:
Attenuated molecular backscatter:
In aerosol-free or nearly aerosol-free (quantitatively?) area, assuming ,
Therefore
Main task is to search the most linear correlated area

## Slide 7: Rayleigh Fit
Normalize the measured signal with attenuated molecular backscatter
Test 1: Pure Rayleigh Conditions
Test 3: White-Noise criterion
Test 4: SNR constrain
Test 2: Near and far range cross criteria
if no other absorptive aerosol layers above it
(Baars et al, AMT, 2016)

## Slide 8: Rayleigh Fit
Normalize the measured signal with attenuated molecular backscatter
Test 1: Pure Rayleigh Conditions
Test 2: Near and far range cross criteria
Test 3: White-Noise criterion
Test 4: SNR constrain
Smaller the mean of the residual is and more Gauss distribution alike the residual is, more possible it could be aerosol-free.

## Slide 9: Shortage of sliding fixed window
Omission: This possible interval will not be found if a large fixed window (like 1 km) was used, since the width of aerosol-free area is only 450m.
More computation: all the sub-areas with a fixed width will be tested.

## Slide 10: Rayleigh Fit – area decomposition
Interested area:
Not intersected
Nearly aerosol-free
Which means the slope of the interested area should be 0 and the shape of interested area should be nearly linear

## Slide 11: Rayleigh Fit - Douglas-Peucker Algorithm
Gifs to show how Douglas- Peucker Algorithm works
Each interval is not intersected.
Each interval is nearly linear, but slope of each interval is still varied.

## Slide 12: Rayleigh Fit
Douglas-Peucker Algorithm
[[z_min1, z_max1], [z_min2, z_max2], … [z_mink, z_maxk]]
Test 1: Slope check
Test 2: Near and far range cross criteria
Test 3: White-Noise criterion
Test 4: SNR constrain
Select the best fit ref interval:
(mean value, standard deviation and slope of the residual, mean square root error from a linear regression, test statistic of Anderson-Darling test)

## Slide 13: Installation and setup

## Slide 14: Workflow
The procedure is valid for (pollyxt_noa, pollyxt_fmi, pollyxt_uw, pollyxt_tjk, pollyxt_lacros, pollyxt_tropos, Arielle, polly_1v2)
Check the ‘pollynet_places_history.txt’ file to ensure the existence of your campaign info
Setup a polly config file under ‘../config’.
  Example
Add a new entry for this campaign to link the processing modules with the corresponding config file
Run the ‘pollynet_process_day’
Task from todolist file
Each line represents a task
Pollynet_places_history.txt
Search the campaign info: lat, lon, …
Pollynet_processing_config_history.txt
Search the processing module and config file. (Each polly has its own processing module)
Load the config and activate the processing module